## Calculator
Appliance | Power (W) | Hours | kWh
Microwave | 600 | 2 | 1.2
Fridge/freezer | 150 | 12 | 1.8
65” LED TV | 120 | 10 | 1.2
Garage Door | 300 | 0.1 | 0.03
Toaster | 800 | 2 | 1.6
Laptop | 75 | 6 | 0.45
Ceiling Fan | 60 | 2 | 0.12
LED bulb (10) | 70 | 8 | 0.56
Router | 10 | 12 | 0.12
Phone Charger | 5 | 12 | 0.06
Apple TV | 3 | 6 | 0.018
Nintendo Switch | 120 | 3 | 0.36
Blender | 300 | 0.1 | 0.03
Dishwasher |  |  | 0
Hair Dryer |  |  | 0
Night Light | 2 | 9 | 0.018
Washing Machine | 500 | 1 | 0.5
Totals
Watts | 3115
kW | 3.115 | 5kW / 7kW
kWh | 8.066 | LG - 9.8 | Tesla - 13.5

## Ref Sheet
Appliance | Power (W)
Notes
100W light bulb (Incandescent) | 100
22 Inch LED TV | 17
25" colour TV | 150
3" belt sander | 1000
32 Inch LED TV | 20
46 Inch LED TV | 60
49 Inch LED TV | 85
60W light bulb (Incandescent) | 60
65 Inch LED TV | 120
82 Inch LED TV | 228
9" disc sander | 1200
Air Fryer | 1500
Air Purifier | 25
Amazon Echo | 3
Amazon Echo Show | 2
American-style Fridge Freezer | 40
Apple TV | 3
AV Receiver | 450
Bathroom Towel Heater | 60
Ceiling Fan | 60
Clock radio | 1
Clothes Dryer | 1000
Coffee Maker | 800
Computer Monitor | 25
Cooker Hood | 20
Corded Drill | 600
Corded Electric Handheld Leaf Blower | 2500
Cordless Drill Charger | 70
Curling Iron | 25
DAB Mains Radio | 5
Deep Freezer | 19 | 168 Kwh/year
Dehumidifier | 240
Desktop Computer | 100
Dishwasher | 1200
Domestic Water Pump | 200
DVD Player | 26
Electric Blanket | 200
Electric Doorbell Transformer | 2
Electric Heater Fan | 2000
Electric Kettle | 1200
Electric Mower | 1500
Electric Shaver | 15
Electric stove | 2000
Electric Tankless Water Heater | 6600
Electric Thermal Radiator | 500
Espresso Coffee Machine | 1300
EV Home Charger | 1600
Evaporative Air Conditioner | 2600
Extractor Fan | 12
Food Blender | 300
Food Dehydrator | 800
Freezer | 30
Fridge | 100
Fridge / Freezer | 150
Fryer | 1000
Game Console | 120
Gaming PC | 300
Garage Door Opener | 300 | As the door only operates for a short time (10secs?) the kWH value is low
Guitar Amplifier | 20
Hair Blow Dryer | 1800
Hand Wash Oversink Water Heater | 3000
Heated Bathroom Mirror | 50
Home Air Conditioner | 1000
Home Internet Router | 5
Home Phone | 3
Home Sound System | 95
Hot Water Dispenser | 1200
Hot Water Immersion Heater | 3000
Humidifier | 35
Induction Hob (per hob) | 1400
Inkjet Printer | 20
Inverter Air conditioner | 1300
Iron | 1000
Laptop Computer | 50
Laser Printer | 600
Lawnmower | 1000
LED Light Bulb | 7
Mi Box | 5
Microwave | 600
Night Light | 1
Oven | 2150
Paper Shredder | 200
Pedestal Fan | 50
Percolator | 800
Philips Hue Smart Bulb | 8
Phone Charger | 4
Playstation 4 | 85
Power Shower | 7500
Pressure Cooker | 700
Projector | 220
Refrigerator | 100
Rice Cooker | 200
Sandwich Maker | 700
Scanner | 10
Set Top Box | 27
Sewing Machine | 70
Slow Cooker | 160
Space Heater | 2000
Steam Iron | 2200
Steriliser | 650
Straightening Iron | 75
Strimmer | 300
Submersible Water Pump | 360
Sump Pump | 100
Table Fan | 10
Tablet Charger | 10
Tablet Computer | 5
Toaster | 800
Treadmill | 280
Tube Light (1500mm) | 22
TV (19" colour) | 40
Vacuum Cleaner | 450
Wall Fan | 45
Washing Machine | 500 | In the EU, power consumption of Washing Machines is typically given in the form of Annual Power Consumption. This is calculated based on 220 standard washing cycles, made up as follows: 60°C full load (3x), 60°C half load (2x), 40°C half load (2x) for 220 washing cycles.
Water Dispenser | 100
Water Feature | 35
Water Filter and Cooler | 70
Wine cooler (18 bottles) | 83
Xbox One